## 1.10
Day | Test # | Test label | Ground motion | Exceed Probality | Ground Motion |  |  | Target PGA |  | PGA | Drift max | Direction | DAQ/cameras running |  |  | Damper |  | Justification | Alterations before test | Modifications
|  |  |  | in 50 years | No | building x | building y | X | Y |  |  |  | MTS DAQ | New DAQ | Cameras | Top | Base
0 |  | GM Iterate | all | [9 empty] | Y | Y | Nikon
1 | W0 | White noise | [10 empty] | Y | Y |  | Friction | Friction | To test the performance of CROCW with Friction damper.
| 1 | D1-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y
| 2 | D1-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 3 | D1-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| W1 | White noise | [10 empty] | Y | Y
|  | D1-69% | Inspection / Documentation
| 4 | D1-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 5 | D1-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 6 | D1-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y
| W2 | White noise | [10 empty] | Y | Y
| 7 | D1-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 8 | D1-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 9 | D1-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W3 | White noise | [10 empty] | Y | Y
| 10 | D1-10%-NF-X | DBE-NF | 10% | RSN 1119-Y | Y |  | 0.73 |  |  |  | X | Y | Y | Y
| 11 | D1-10%-NF-Y | DBE-NF | 10% | RSN 1119-Y |  | Y |  | 0.73 |  |  | Y | Y | Y | Y
| 12 | D1-10%-NF-XY | DBE-NF | 10% | RSN 1119-YX | Y | X | 0.73 | 0.64 |  |  | XY | Y | Y | Y
| W4 | White noise | [10 empty] | Y | Y
| 13 | D1-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 14 | D1-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 15 | D1-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| W5 | White noise | [10 empty] | Y | Y
|  | D1-2% | Inspection / Documentation
Change Damper

## 1.13
Day | Test # | Test label | Ground motion | Exceed Probality | Ground Motion |  |  | Target PGA |  | PGA | Drift max | Direction | DAQ/cameras running |  |  | Damper |  | Justification | Alterations before test | Modifications
|  |  |  | in 50 years | No | building x | building y | X | Y |  |  |  | MTS DAQ | New DAQ | Cameras | Top | Base
0 |  | GM Iterate | all | [9 empty] | Y | Y | Nikon
2 | W6 | White noise | [10 empty] | Y | Y | Y | Friction | LED | To test the performance of CROCW with Friction damper.
| 16 | D2-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 17 | D2-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 18 | D2-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| 19 | D2-10%-L-X | DBE-L | 10% | RSN 1546-X | X |  | 0.45 |  |  |  | X | Y | Y | Y
| 20 | D2-10%-L-Y | DBE-L | 10% | RSN 1546-Y |  | X |  | 0.45 |  |  | Y | Y | Y | Y
| 21 | D2-10%-L-XY | DBE-L | 10% | RSN 1546-XY | X | Y | 0.45 | 0.37 |  |  | XY | Y | Y | Y
| W7 | White noise | [10 empty] | Y | Y
|  | D2-10% | Inspection / Documentation
| 22 | D2-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 23 | D2-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 24 | D2-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 25 | D2-2%-NF-XY | MCE-NF | 2% | RSN 1119-YX | Y | X | 1.5 | 1.3 |  |  | YX | Y | Y | Y
| 26 | D2-2%-L-X | MCE-L | 2% | RSN 1546-X | X |  | 1.5 |  |  |  | X | Y | Y | Y
| 27 | D2-2%-L-Y | MCE-L | 2% | RSN 1546-Y |  | X |  | 1.5 |  |  | Y | Y | Y | Y
| 28 | D2-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W8 | White noise | [10 empty] | Y | Y
|  | D2-2% | Inspection / Documentation
Change Damper
| 29 | D3-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y | Friction | RSFJ | To test the performance of CROCW with Friction damper.
| 30 | D3-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 31 | D3-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W9 | White noise | [10 empty] | Y | Y
|  | D3-10% | Inspection / Documentation
| 32 | D3-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 33 | D3-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 34 | D3-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 35 | D3-2%-NF-XY | MCE-NF | 2% | RSN 1119-YX | Y | X | 1.5 | 1.3 |  |  | YX | Y | Y | Y
| 36 | D3-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W10 | White noise | [10 empty] | Y | Y
|  | D3-2% | Inspection / Documentation
Change Damper

## 1.13（补）
Day | Test # | Test label | Ground motion | Exceed Probality | Ground Motion |  |  | Target PGA |  | PGA | Drift max | Direction | DAQ/cameras running |  |  | Damper |  | Justification | Alterations before test | Modifications
|  |  |  | in 50 years | No | building x | building y | X | Y |  |  |  | MTS DAQ | New DAQ | Cameras | Top | Base
补 |  | GM Iterate | all | [9 empty] | Y | Y | Nikon | Friction | LED
| 1 | D2-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y
| 2 | D2-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 3 | D2-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 4 | D2-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 5 | D2-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 6 | D2-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y
Change Damper
| 7 | D3-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y | Friction | RSFJ
| 8 | D3-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 9 | D3-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 10 | D3-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 11 | D3-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 12 | D3-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y

## 1.14
Day | Test # | Test label | Ground motion | Exceed Probality | Ground Motion |  |  | Target PGA |  | PGA | Drift max | Direction | DAQ/cameras running |  |  | Damper |  | Justification | Alterations before test | Modifications
|  |  |  | in 50 years | No | building x | building y | X | Y |  |  |  | MTS DAQ | New DAQ | Cameras | Top | Base
3 |  | GM Iterate | all | [9 empty] | Y | Y | Nikon
Change Damper
| W11 | White noise
| 37 | D4-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y | RSFJ | LED | To test the performance of CROCW with RSFJ damper.
| 38 | D4-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 39 | D4-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 40 | D4-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 41 | D4-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 42 | D4-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y
| 43 | D4-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 44 | D4-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y
| 45 | D4-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W12 | White noise | [10 empty] | Y | Y
|  | D4-10% | Inspection / Documentation
| 46 | D4-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 47 | D4-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y
| 48 | D4-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 49 | D4-2%-NF-XY | MCE-NF | 2% | RSN 1119-YX | Y | X | 1.5 | 1.3 |  |  | YX | Y | Y | Y
| 50 | D4-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W13 | White noise | [10 empty] | Y | Y
|  | D4-2% | Inspection / Documentation
Change Damper

## 1.15
Day | Test # | Test label | Ground motion | Exceed Probality | Ground Motion |  |  | Target PGA |  | PGA | Drift max | Direction | DAQ/cameras running |  |  | Damper |  | Justification | Alterations before test | Modifications
|  |  |  | in 50 years | No | building x | building y | X | Y |  |  |  | MTS DAQ | New DAQ | Cameras | Top | Base
4 |  | GM Iterate | all | [9 empty] | Y | Y | Nikon
Change Damper
| W14 | White noise | [10 empty] | Y | Y |  | RSFJ | Friction | To test the performance of CROCW with RSFJ damper.
| 51 | D5-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y
| 52 | D5-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 53 | D5-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 54 | D5-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 55 | D5-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 56 | D5-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y
| 57 | D5-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 58 | D5-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 59 | D5-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W15 | White noise | [10 empty] | Y | Y
|  | D5-10% | Inspection / Documentation
| 60 | D5-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 61 | D5-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 62 | D5-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 63 | D5-2%-NF-XY | MCE-NF | 2% | RSN 1119-YX | Y | X | 1.5 | 1.3 |  |  | YX | Y | Y | Y
| 64 | D5-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W16 | White noise | [10 empty] | Y | Y
|  | D5-2% | Inspection / Documentation
| 65 | D6-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y | RSFJ | RSFJ | To test the performance of CROCW with RSFJ damper.
| 66 | D6-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 67 | D6-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 68 | D6-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 69 | D6-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 70 | D6-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y
| 71 | D6-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 72 | D6-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 73 | D6-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W17 | White noise | [10 empty] | Y | Y
|  | D6-10% | Inspection / Documentation
| 74 | D6-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 75 | D6-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 76 | D6-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 77 | D6-2%-NF-XY | MCE-NF | 2% | RSN 1119-YX | Y | X | 1.5 | 1.3 |  |  | YX | Y | Y | Y
| 78 | D6-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W18 | White noise | [10 empty] | Y | Y
|  | D6-2% | Inspection / Documentation

## 1.16
Day | Test # | Test label | Ground motion | Exceed Probality | Ground Motion |  |  | Target PGA |  | PGA | Drift max | Direction | DAQ/cameras running |  |  | Damper |  | Justification | Alterations before test | Modifications
|  |  |  | in 50 years | No | building x | building y | X | Y |  |  |  | MTS DAQ | New DAQ | Cameras | Top | Base
5 |  | GM Iterate | all | [9 empty] | Y | Y | Nikon
Change Damper
| W19 | White noise | [10 empty] | Y | Y |  | N/A | Friction | To test CRW system
| 79 | D7-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 80 | D7-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y
| 81 | D7-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 82 | D7-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 83 | D7-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 84 | D7-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y
| 85 | D7-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 86 | D7-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 87 | D7-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W20 | White noise | [10 empty] | Y | Y
|  | D7-10% | Inspection / Documentation
| 88 | D7-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 89 | D7-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 90 | D7-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 91 | D7-2%-NF-XY | MCE-NF | 2% | RSN 1119-YX | Y | X | 1.5 | 1.3 |  |  | YX | Y | Y | Y
| 92 | D7-2%-L-X | MCE-L | 2% | RSN 1546-X | X |  | 1.5 |  |  |  | X | Y | Y | Y
| 93 | D7-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W21 | White noise | [10 empty] | Y | Y
|  | D7-2% | Inspection / Documentation
Change Damper
| 94 | D8-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y | N/A | RSFJ | To test CRW system
| 95 | D8-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y
| 96 | D8-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 97 | D8-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 98 | D8-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 99 | D8-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y
| 100 | D8-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 101 | D8-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 102 | D8-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W22 | White noise | [10 empty] | Y | Y
|  | D8-10% | Inspection / Documentation
| 103 | D8-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 104 | D8-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 105 | D8-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 106 | D8-2%-NF-XY | MCE-NF | 2% | RSN 1119-YX | Y | X | 1.5 | 1.3 |  |  | YX | Y | Y | Y
| 107 | D8-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W23 | White noise | [10 empty] | Y | Y
|  | D8-2% | Inspection / Documentation
Change Damper

## 1.17
Day | Test # | Test label | Ground motion | Exceed Probality | Ground Motion |  |  | Target PGA |  | PGA | Drift max | Direction | DAQ/cameras running |  |  | Damper |  | Justification | Alterations before test | Modifications
|  |  |  | in 50 years | No | building x | building y | X | Y |  |  |  | MTS DAQ | New DAQ | Cameras | Top | Base
6 |  | GM Iterate | all | [9 empty] | Y | Y | Nikon
Change Damper
| W24 | White noise | [10 empty] | Y | Y |  | Friction | N/A | To test CRW system
| 108 | D9-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 109 | D9-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y
| 110 | D9-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 111 | D9-20%-FF-Y | DBE-FF | 20% | RSN 832-X |  | X |  | 0.43 |  |  | Y | Y | Y | Y
| 112 | D9-20%-FF-X | DBE-FF | 20% | RSN 832-X | X |  | 0.43 |  |  |  | X | Y | Y | Y
| 113 | D9-20%-FF-XY | DBE-FF | 20% | RSN 832-XY | X | Y | 0.43 | 0.34 |  |  | XY | Y | Y | Y
| 114 | D9-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 115 | D9-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 116 | D9-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W25 | White noise | [10 empty] | Y | Y
|  | D9-10% | Inspection / Documentation
| 117 | D9-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 118 | D9-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 119 | D9-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 120 | D9-2%-NF-XY | MCE-NF | 2% | RSN 1119-YX | Y | X | 1.5 | 1.3 |  |  | YX | Y | Y | Y
| 121 | D9-2%-L-X | MCE-L | 2% | RSN 1546-X | X |  | 1.5 |  |  |  | X | Y | Y | Y
| 122 | D9-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W26 | White noise | [10 empty] | Y | Y
|  | D9-2% | Inspection / Documentation

## 1.19
Day | Test # | Test label | Ground motion | Exceed Probality | Ground Motion |  |  | Target PGA |  | PGA | Drift max | Direction | DAQ/cameras running |  |  | Damper |  | Justification | Alterations before test | Modifications
|  |  |  | in 50 years | No | building x | building y | X | Y |  |  |  | MTS DAQ | New DAQ | Cameras | Top | Base
7 |  | GM Iterate | all | [9 empty] | Y | Y | Nikon
Change Damper
| W27 | White noise | [10 empty] | Y | Y |  | Fix base
| 123 | D10-69%-FF-X | SLE-FF | 69% | RSN 832-X | X |  | 0.12 |  |  |  | X | Y | Y | Y
| 124 | D10-69%-FF-Y | SLE-FF | 69% | RSN 832-X |  | X |  | 0.12 |  |  | Y | Y | Y | Y
| 125 | D10-69%-FF-XY | SLE-FF | 69% | RSN 832-XY | X | Y | 0.12 | 0.1 |  |  | XY | Y | Y | Y
| 126 | D10-10%-FF-X | DBE-FF | 10% | RSN 832-X | X |  | 0.72 |  |  |  | X | Y | Y | Y
| 127 | D10-10%-FF-Y | DBE-FF | 10% | RSN 832-X |  | X |  | 0.72 |  |  | Y | Y | Y | Y
| 128 | D10-10%-FF-XY | DBE-FF | 10% | RSN 832-XY | X | Y | 0.72 | 0.57 |  |  | XY | Y | Y | Y
| W28 | White noise | [10 empty] | Y | Y
|  | D10-10% | Inspection / Documentation
| 129 | D10-2%-FF-X | MCE-FF | 2% | RSN 832-X | X |  | 1.44 |  |  |  | X | Y | Y | Y
| 130 | D10-2%-FF-Y | MCE-FF | 2% | RSN 832-X |  | X |  | 1.44 |  |  | Y | Y | Y | Y
| 131 | D10-2%-FF-XY | MCE-FF | 2% | RSN 832-XY | X | Y | 1.44 | 1.13 |  |  | XY | Y | Y | Y
| 132 | D10-2%-L-XY | MCE-L | 2% | RSN 1546-XY | X | Y | 1.5 | 1.2 |  |  | XY | Y | Y | Y
| W29 | White noise | [10 empty] | Y | Y
|  | D10-2% | Inspection / Documentation